| PG&E Data Request No.: | EMF_001-06 |  |  |
| --- | --- | --- | --- |
| PG&E File Name: | SmartMeterProgram-Modifications_DR_EMF_001-Q06 |  |  |
| Request Date: | May 18, 2011 | Requester DR No.: | 001 |
| Date Sent: | June 1, 2011 | Requesting Party: | EMF Safety Network |
| PG&E Witness: | James L. Meadows | Requester: | Sandi Maurer |

Question 6

If all power to the home is turned off at the breaker box, is the Smart Meter still powered by electricity, and is it still transmitting data to the mesh network? If all power to the home is turned off at the breaker box, is the mother meter still powered by electricity, and is it still transmitting data to the mesh network? Who pays for the electricity required to run the Smart Meters, the homeowner or PG&E? Who pays for the electricity required to run the mother meter, the homeowner or PG&E? What voltage does the Smart Meter require to function? What voltage does the analog meter require to function?

Answer 6

PG&E objects to this question as outside of the scope of this proceeding.  As set forth in the Assigned Commissioner Ruling and Scoping Memo issued on May 25, 2011, the first phase of this proceeding is limited to three issues: 1) whether PG&E’s proposed opt-out program is a reasonable solution as an alternative to customers who choose not to have a SmartMeter™ capable of radio frequency transmission; 2) whether PG&E’s estimated costs are reasonable; and 3) whether PG&E’s proposed cost recovery methodology is reasonable.  EMF Safety Network’s Question 6 does not relate to the three issues within the scope of this proceeding.

Notwithstanding and without waiving its objection, PG&E clarifies that the power to the meter is provided directly from the utility-side distribution transformer, and not from the home.  Opening the customer’s main breaker has no effect on the meter.  The meter will stay powered and communicating with the mesh network whenever there is utility-side power.

The meter electronics and radio are powered from the utility.  The meter only measures the customer’s usage, not any energy the meter uses.

PG&E's network design does not use a 'mother' meter concept; relay devices and access point collectors are pole-top devices.  Meters are selected for use at a particular customer location based on the service entrance main breaker panel design; residential locations are typically 120 volts or 240 volts.  SmartMeters™ and legacy mechanical meters operate at the same voltages in the same service entrance breaker panels.